## ConReq
Connection Request
Pos |  | Data |  | Bedeutung
1 | 0x01 | 6 | Header | Header Länge
2 | 0x02 | 10 |  | Version 0x10
3 | 0x03 | 2 |  | servicetype 0x205 = ConnectionRequest #define SEARCH_REQUEST 0x0201 #define SEARCH_RESPONSE 0x0202 #define DESCRIPTION_REQUEST 0x0203 #define DESCRIPTION_RESPONSE 0x0204 #define CONNECT_REQUEST 0x0205 #define CONNECT_RESPONSE 0x0206 #define CONNECTIONSTATE_REQUEST 0x0207 #define CONNECTIONSTATE_RESPONSE 0x0208 #define DISCONNECT_REQUEST 0x0209 #define DISCONNECT_RESPONSE 0x020A #define DEVICE_CONFIGURATION_REQUEST 0x0310 #define DEVICE_CONFIGURATION_ACK 0x0311 #define TUNNELLING_REQUEST 0x0420 #define TUNNELLING_ACK 0x0421 #define TUNNEL_LINKLAYER 0x02 #define TUNNEL_RAW 0x04 #define TUNNEL_BUSMONITOR 0x80
4 | 0x04 | 5
5 | 0x05 | 0 |  | Gesamtlänge des Paketes
6 | 0x06 | 1A
7 | 0x07 | 8 | HPAI Control | Länge
8 | 0x08 | 1 |  | Connectiontype 1 = UDP 2 = TCP
9 | 0x09 | C0 |  | IP Adr. Des Controlkanals
10 | 0x0A | A8
11 | 0x0B | 0
12 | 0x0C | 12
13 | 0x0D | 46 |  | Port des Controlkanal
14 | 0x0E | 51
15 | 0x0F | 8 | HAPI Data | Länge
16 | 0x10 | 1 |  | Connectiontype 1 = UDP 2 = TCP
17 | 0x11 | C0 |  | IP Adr. Des Datenkanals
18 | 0x12 | A8
19 | 0x13 | 0
20 | 0x14 | 12
21 | 0x15 | 46 |  | Port des Datenkanals
22 | 0x16 | 51
23 | 0x17 | 4 | CRI | Länge
24 | 0x18 | 4 |  | connectiontypecode 0x04 = TUNNEL_CONNECTION
25 | 0x19 | 2 |  | tunneling services 0x02 = TUNNEL_LINKLAYER
26 | 0x1A | 0 |  | protocoldependentdata

## ConResp
Connection Response
Pos |  | Data |  | Bedeutung
1 | 0x01 | 6 | Header | Header Länge
2 | 0x02 | 10 |  | Version
3 | 0x03 | 2 |  | servicetype 0x205 = ConnectionRequest #define SEARCH_REQUEST 0x0201 #define SEARCH_RESPONSE 0x0202 #define DESCRIPTION_REQUEST 0x0203 #define DESCRIPTION_RESPONSE 0x0204 #define CONNECT_REQUEST 0x0205 #define CONNECT_RESPONSE 0x0206 #define CONNECTIONSTATE_REQUEST 0x0207 #define CONNECTIONSTATE_RESPONSE 0x0208 #define DISCONNECT_REQUEST 0x0209 #define DISCONNECT_RESPONSE 0x020A #define DEVICE_CONFIGURATION_REQUEST 0x0310 #define DEVICE_CONFIGURATION_ACK 0x0311 #define TUNNELLING_REQUEST 0x0420 #define TUNNELLING_ACK 0x0421 #define TUNNEL_LINKLAYER 0x02 #define TUNNEL_RAW 0x04 #define TUNNEL_BUSMONITOR 0x80
4 | 0x04 | 6
5 | 0x05 | 0 |  | Gesamtlänge des Paketes
6 | 0x06 | 14
7 | 0x07 | 46 | ch | channelid
8 | 0x08 | 0 | st | status E_NO_ERROR 0x00 E_SOCKET_CLOSED 0x01 E_NO_SOCKETS 0x02 E_BAD_REQUEST 0x03 E_CMD_UNKNOWN 0x04 E_TIMEOUT 0x05 E_UNAUTHORISED 0x06 E_PASSWORD 0x07 E_DHM 0x08 E_PARAMETER 0x09 E_COMMUNICATIONS 0x0a
9 | 0x09 | 8 | HPAI Control | Länge
10 | 0x0A | 1 |  | Connectiontype 1 = UDP 2 = TCP
11 | 0x0B | C0 |  | IP Adr. des Servers
12 | 0x0C | A8
13 | 0x0D | 0
14 | 0x0E | 3
15 | 0x0F | 0E |  | Port des Servers
16 | 0x10 | 57
17 | 0x11 | 4 | CRI | Länge
18 | 0x12 | 4 |  | connectiontypecode 0x04 = TUNNEL_CONNECTION
19 | 0x13 | 11 |  | protocolindependentdata
20 | 0x14 | 5B |  | protocoldependentdata

## DiscReq
Disconnection Request
Pos |  | Data |  | Bedeutung
1 | 0x01 | 6 | Header | Header Länge
2 | 0x02 | 10 |  | Version 0x10
3 | 0x03 | 2 |  | servicetype 0x205 = ConnectionRequest #define SEARCH_REQUEST 0x0201 #define SEARCH_RESPONSE 0x0202 #define DESCRIPTION_REQUEST 0x0203 #define DESCRIPTION_RESPONSE 0x0204 #define CONNECT_REQUEST 0x0205 #define CONNECT_RESPONSE 0x0206 #define CONNECTIONSTATE_REQUEST 0x0207 #define CONNECTIONSTATE_RESPONSE 0x0208 #define DISCONNECT_REQUEST 0x0209 #define DISCONNECT_RESPONSE 0x020A #define DEVICE_CONFIGURATION_REQUEST 0x0310 #define DEVICE_CONFIGURATION_ACK 0x0311 #define TUNNELLING_REQUEST 0x0420 #define TUNNELLING_ACK 0x0421 #define TUNNEL_LINKLAYER 0x02 #define TUNNEL_RAW 0x04 #define TUNNEL_BUSMONITOR 0x80
4 | 0x04 | 9
5 | 0x05 | 0 |  | Gesamtlänge des Paketes
6 | 0x06 | 10
7 | 0x07 | 4E | ch | channelid
8 | 0x08 | 0 | st | status E_NO_ERROR 0x00 E_SOCKET_CLOSED 0x01 E_NO_SOCKETS 0x02 E_BAD_REQUEST 0x03 E_CMD_UNKNOWN 0x04 E_TIMEOUT 0x05 E_UNAUTHORISED 0x06 E_PASSWORD 0x07 E_DHM 0x08 E_PARAMETER 0x09 E_COMMUNICATIONS 0x0a
9 | 0x09 | 8 | HPAI Control | Länge
10 | 0x0A | 1 |  | Connectiontype 1 = UDP 2 = TCP
11 | 0x0B | C0 |  | IP Adr. Des Controlkanals
12 | 0x0C | A8
13 | 0x0D | 0
14 | 0x0E | 12
15 | 0x0F | 46 |  | Port des Controlkanal
16 | 0x10 | 51

## DiscResp
Connection Response
Pos |  | Data |  | Bedeutung
1 | 0x01 | 6 | Header | Header Länge
2 | 0x02 | 10 |  | Version
3 | 0x03 | 2 |  | servicetype 0x205 = ConnectionRequest #define SEARCH_REQUEST 0x0201 #define SEARCH_RESPONSE 0x0202 #define DESCRIPTION_REQUEST 0x0203 #define DESCRIPTION_RESPONSE 0x0204 #define CONNECT_REQUEST 0x0205 #define CONNECT_RESPONSE 0x0206 #define CONNECTIONSTATE_REQUEST 0x0207 #define CONNECTIONSTATE_RESPONSE 0x0208 #define DISCONNECT_REQUEST 0x0209 #define DISCONNECT_RESPONSE 0x020A #define DEVICE_CONFIGURATION_REQUEST 0x0310 #define DEVICE_CONFIGURATION_ACK 0x0311 #define TUNNELLING_REQUEST 0x0420 #define TUNNELLING_ACK 0x0421 #define TUNNEL_LINKLAYER 0x02 #define TUNNEL_RAW 0x04 #define TUNNEL_BUSMONITOR 0x80
4 | 0x04 | 0A
5 | 0x05 | 0 |  | Gesamtlänge des Paketes
6 | 0x06 | 8
7 | 0x07 | 46 | ch | channelid
8 | 0x08 | 0 | st | status E_NO_ERROR 0x00 E_SOCKET_CLOSED 0x01 E_NO_SOCKETS 0x02 E_BAD_REQUEST 0x03 E_CMD_UNKNOWN 0x04 E_TIMEOUT 0x05 E_UNAUTHORISED 0x06 E_PASSWORD 0x07 E_DHM 0x08 E_PARAMETER 0x09 E_COMMUNICATIONS 0x0a

## HBReq
Heartbeat Request
Pos |  | Data |  | Bedeutung
1 | 0x01 | 6 | Header | Header Länge
2 | 0x02 | 10 |  | Version 0x10
3 | 0x03 | 2 |  | servicetype 0x205 = ConnectionRequest #define SEARCH_REQUEST 0x0201 #define SEARCH_RESPONSE 0x0202 #define DESCRIPTION_REQUEST 0x0203 #define DESCRIPTION_RESPONSE 0x0204 #define CONNECT_REQUEST 0x0205 #define CONNECT_RESPONSE 0x0206 #define CONNECTIONSTATE_REQUEST 0x0207 #define CONNECTIONSTATE_RESPONSE 0x0208 #define DISCONNECT_REQUEST 0x0209 #define DISCONNECT_RESPONSE 0x020A #define DEVICE_CONFIGURATION_REQUEST 0x0310 #define DEVICE_CONFIGURATION_ACK 0x0311 #define TUNNELLING_REQUEST 0x0420 #define TUNNELLING_ACK 0x0421 #define TUNNEL_LINKLAYER 0x02 #define TUNNEL_RAW 0x04 #define TUNNEL_BUSMONITOR 0x80
4 | 0x04 | 7
5 | 0x05 | 0 |  | Gesamtlänge des Paketes
6 | 0x06 | 10
7 | 0x07 | 4E | ch | channelid
8 | 0x08 | 0 | st | status E_NO_ERROR 0x00 E_SOCKET_CLOSED 0x01 E_NO_SOCKETS 0x02 E_BAD_REQUEST 0x03 E_CMD_UNKNOWN 0x04 E_TIMEOUT 0x05 E_UNAUTHORISED 0x06 E_PASSWORD 0x07 E_DHM 0x08 E_PARAMETER 0x09 E_COMMUNICATIONS 0x0a
9 | 0x09 | 8 | HPAI Control | Länge
10 | 0x0A | 1 |  | Connectiontype 1 = UDP 2 = TCP
11 | 0x0B | C0 |  | IP Adr. Des Controlkanals
12 | 0x0C | A8
13 | 0x0D | 0
14 | 0x0E | 12
15 | 0x0F | 46 |  | Port des Controlkanal
16 | 0x10 | 51

## HBResp
Heartbeat Response
Pos |  | Data |  | Bedeutung
1 | 0x01 | 6 | Header | Header Länge
2 | 0x02 | 10 |  | Version
3 | 0x03 | 2 |  | servicetype 0x205 = ConnectionRequest #define SEARCH_REQUEST 0x0201 #define SEARCH_RESPONSE 0x0202 #define DESCRIPTION_REQUEST 0x0203 #define DESCRIPTION_RESPONSE 0x0204 #define CONNECT_REQUEST 0x0205 #define CONNECT_RESPONSE 0x0206 #define CONNECTIONSTATE_REQUEST 0x0207 #define CONNECTIONSTATE_RESPONSE 0x0208 #define DISCONNECT_REQUEST 0x0209 #define DISCONNECT_RESPONSE 0x020A #define DEVICE_CONFIGURATION_REQUEST 0x0310 #define DEVICE_CONFIGURATION_ACK 0x0311 #define TUNNELLING_REQUEST 0x0420 #define TUNNELLING_ACK 0x0421 #define TUNNEL_LINKLAYER 0x02 #define TUNNEL_RAW 0x04 #define TUNNEL_BUSMONITOR 0x80
4 | 0x04 | 8
5 | 0x05 | 0 |  | Gesamtlänge des Paketes
6 | 0x06 | 8
7 | 0x07 | 46 | ch | channelid
8 | 0x08 | 0 | st | status E_NO_ERROR 0x00 E_SOCKET_CLOSED 0x01 E_NO_SOCKETS 0x02 E_BAD_REQUEST 0x03 E_CMD_UNKNOWN 0x04 E_TIMEOUT 0x05 E_UNAUTHORISED 0x06 E_PASSWORD 0x07 E_DHM 0x08 E_PARAMETER 0x09 E_COMMUNICATIONS 0x0a

## Data
Heartbeat Request
Pos |  | Data |  | Bedeutung
1 | 0x01 | 6 | Header | Header Länge
2 | 0x02 | 10 |  | Version 0x10
3 | 0x03 | 4 |  | servicetype 0x205 = ConnectionRequest #define SEARCH_REQUEST 0x0201 #define SEARCH_RESPONSE 0x0202 #define DESCRIPTION_REQUEST 0x0203 #define DESCRIPTION_RESPONSE 0x0204 #define CONNECT_REQUEST 0x0205 #define CONNECT_RESPONSE 0x0206 #define CONNECTIONSTATE_REQUEST 0x0207 #define CONNECTIONSTATE_RESPONSE 0x0208 #define DISCONNECT_REQUEST 0x0209 #define DISCONNECT_RESPONSE 0x020A #define DEVICE_CONFIGURATION_REQUEST 0x0310 #define DEVICE_CONFIGURATION_ACK 0x0311 #define TUNNELLING_REQUEST 0x0420 #define TUNNELLING_ACK 0x0421 #define TUNNEL_LINKLAYER 0x02 #define TUNNEL_RAW 0x04 #define TUNNEL_BUSMONITOR 0x80
4 | 0x04 | 20
5 | 0x05 | 0 |  | Gesamtlänge des Paketes
6 | 0x06 | 17
7 | 0x07 | 4 | CCHeader | Länge
8 | 0x08 | 4F |  | channelid
9 | 0x09 | 94 |  | Sequence Counter
10 | 0x0A | 0
11 | 0x0B | 29 | cEMI Frame | MSG Code 0x29 = L_Data.ind
12 | 0x0C | 0 |  | Addit. Info Length
13 | 0x0D | BC |  | Control1
14 | 0x0E | E0 |  | Control2
15 | 0x0F | 11 |  | Source Adr
16 | 0x10 | 67
17 | 0x11 | 28 |  | Dest Adr
18 | 0x12 | 0B
19 | 0x13 | 3 |  | Datenlänge
20 | 0x14 | 0 |  | APDU
21 | 0x15 | 80
22 | 0x16 | 0E |  | Daten
23 | 0x17 | 8D